## summary
S H E R A N H E N R Y A S S O C I A T E S
CHARTERED ARCHITECTS / DESIGNERS
25/3, LAURIES ROAD, COLOMBO 4
TEL : 2591277 FAX : 5336694
E-MAIL : chrysant@slt.lk
PROPOSED INTERIOR FOR IWMI AUDITORIUM
GRAND SUMMARY
| CIVIL WORK | 925000
| SUB TOTAL (01) | 925000 | 92224051.2424 | -91299051.2424
DISCOUNT IF ANY
| SUB TOTAL (02) | 925000
| ADD: 10% CONTINGENCIES | 92500
| SUB TOTAL (03) | 1017500
| TOTAL PROJECT COST WITHOUT VAT (WITH CONTINGENCIES) | 1017500

## BOQ_Civil & Structural work
S H E R A N H E N R Y A S S O C I A T E S
CHARTERED ARCHITECTS / DESIGNERS
25/3, LAURIES ROAD, COLOMBO 4
TEL : 2591277 FAX : 5336694
E-MAIL : chrysant@slt.lk
PROPOSED INTERIOR FOR IWMI AUDITORIUM – CIVIL WORK
ITEM NO | DESCRIPTION | UNIT | QTY | RATE (Rs.) | AMOUNT (Rs.)
SECTION 01 - PRELIMINARIES
SECTION: 01 - PRELIMINARIES / GENERAL CONDITIONS
Project Particulars
Name of the Project:
PROPOSED INTERIOR FOR IWMI AUDITORIUM – CIVIL WORK
Nature of work
The proposed work comprises the renovating and interior works of the above building .
Location of site
INTERNATIONAL WATER MANAGEMENT INSTITUTE, BATTARAMULLA
Name of Employer
INTERNATIONAL WATER MANAGEMENT INSTITUTE
Name of Consultants
SHERAN HENRY ASSOCIATES
CHARTERED ARCHITECTS / DESIGNERS
25/3,
LAURIES ROAD,
COLOMBO 4
Other Documents forming part of the Bills of Quantities
The documents used to prepare the "Bills of Quantities"are as follows;
Architectural Drawings
Structural Drawings
Plumbing
Electrical
Schedule of finishes
| The Bills of Quantities comprises the following sections | Note
SECTION 01 - PRELIMINARIES
SECTION 02 - DEMOLITION WORK
SECTION 03 - GROUND WORK
SECTION 04 - CONCRETE WORK
SECTION 05 - MASONRY WORK
SECTION 08 - SURFACE FINISHES
SECTION 09 - PLUMBING
SECTION 10 – MISSELENIOUS WORK
SECTION 01 - PRELIMINARIES
| The attention of the Tenderer is drawn to the use of Bill of Quantities, Drawings, Conditions of Contract, Tendering data and contract data, Specifications and any other particulars related to this of the Tender. It is the Tenderer's responsibility to see that his price includes for complying with all the requirements of the conditions of contract and other documents whether specifically referred to in this Bill of Quantities or not. | Note
| The Tenderer is advised to visit the site of the proposed work, as it is his responsibility to ascertain the Conditions, governing access to the site, the external working space, storage area, etc. | Note
| All temporary works shall be dismantled and cleared away from the site on completion of the work. | Note
| No work in any trade shall be carried out in such a manner as to cause any nuisance to adjacent owners or the public. | Note
| Mechanical plant and equipment which emits excessive noise, water, smoke, fumes, obnoxious liquids, gases etc., will not be allowed to be used on the site, without the prior approval from the Employer and the Consultant. | Note
| The Consultant has the final decision as and when he deems it necessary for the Contractor to take precautions, maintain or repair such plant and equipment or order their removal from the site. | Note
| The contractor shall be responsible for any loss or damage to the works, existing structures, adjoining structures and unfixed materials. | Note
| Care shall be taken to ensure that the rights of all adjoining and adjacent owners, tenants and the public are fully respected. Immediately upon receipt of any form of complaint from adjoining property owners or any Authorities, the Contractor shall notify the Consultant , the nature of such complaint and the corrective measures he intends to employ. | Note
| Where there is a duplication of preliminary items in this trade the Tenderer is requested to price the item more detailed in description. | Note
| Rate for all items shall include for providing any other work that the tenderer deems necessary for the proper execution and completion of the works ,but not listed below. Tenderer shall insert below the details of such work with costs. (If space provided is insufficient attach separate list) | Note
| All works should be coordinate with consultant and other contractors | Note
Working hours will be 4.30 pm to 6.30am for working days ,24hrs for Weekends other holidays availability to be informed by client
1.1 | Allow for covering the construction area providing and maintain adequate provisions to reduce the amount of dust, pollution and noise from the site and shall be the contractor's responsibility for any complaints, damages or claims in connection with the works. The contractor shall maintain noise acceptable to the environmental and other authorities and shall maintain a monitoring procedures acceptable to the Consultant including necessary changes to the method of working time to time to be within the acceptable noise level..rate shall include for temporary partition as per the detail drawing | Item | 1 |  | 0
0
1.2 | Allow for all items shall include for insurance of work, Machinery & Equipment, Plant, Materials, third party person & property and Employer's personnel & property at site as per the Contract.(will be paid as per the actual) | p.sum | 1 |  | RATE ONLY
0
1.3 | Allow for all items shall include for All risk policy insurance including third party liability ,workers compensation insurance against accidents and injury to contractor's personnel as per the Contract.(will be paid as per the actual) | p.sum | 1 | 150000 | 150000
0
| Contractor's Facilities |  |  |  | 0
0
1.4 | Allow for constructing, maintaining, dismantling and removal on completion of the works, a temporary site office ,workshop and stores for perishable materials of adequate size and other facilities for the contractor's site management staff in accordance with the plans prepared by the contractor and concurred by the Architect | Item | 1 |  | RATE ONLY
0
1.5 | Allow for all items shall include for setting out of works in accordance with drawing and other written information given by the Architect. | Item | 1 |  | 0
0
| Quality, Standards and Progress |  |  |  | 0
0
1.6 | Allow for all items shall include for all cost in connection with preparing samples for testing, making arrangements for testing of materials, goods etc., as stipulated in the specification, obtaining test reports and submitting the same to the Architect. | Item | 1 |  | 0
0
1.7 | Allow for items shall include for provision of shop drawings, bar schedules etc. for Architect's approval. | Item | 1 |  | 0
0
1.8 | Allow for items shall include maintenance manual report withing two weeks from completion ,should include provision of 2 sets of (hard copies and soft copies) as-built drawings of all services, specifications,test reports,warranty certificates etc. (Report should submit to Architect's for approval.) | Item | 1 |  | 0
0
1.9 | Allow for all items shall include for providing all necessary safety measures adheraing to the safety Standered (helmets,Shoes,dust mask,gloves goggles etc.) to workmen at site conforming to the latest industrial safety regulation and as directed by the Architect. | Item | 1 |  | 0
0
1.1 | Deep cleaning post completion | Item | 1 |  | 0
0
1.11 | Electricity and water to be supplied by client only for the construction work | Note |  |  | 0
0
1.12 | Allow for Temporary material such as wire light fittings plug base,horses etc. | Item | 1 |  | 0
0
1.13 | Allow for submission of Performance bonds as per the conditions of contract.(will be paid as per the actual) | p.sum | 1 | 100000 | 100000
0
1.14 | Allow for submission of Advance Guarantees as per the conditions of contract.(will be paid as per the actual) | p.sum | 1 | 75000 | 75000
| TOTAL OF SECTION 01 - CARRIED TO GRAND SUMMARY |  |  |  | 325000
SECTION 02 - DEMOLITION WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract and other relevant documents prior to pricing of this section of work. | Note
| The Tenderer is advised to visit the site and inspect the type and extent of demolition work to be carried out prior to pricing these items. It is the Tenderer's responsibility to do all demolishing, dismantling and removing etc., with minimum damage to any existing work that is to remain. | Note
| Rates for demolishing shall include for carrying out all work with equipment suitable to the nature of this work with out any damage to the existing structure and neighboring structures . And demolishing work to avoid damages to workers, outsiders, existing services, fittings and equipment. existing structure, adjoining properties, public services and to minimize dust, noise and disturbances to others etc., | Note
| The Contractor shall not carry out any demolition work without reconfirmation even though the such items have already been included in the Bill of Quantities and or demolition to demarcated at the location by the Contractor and approval to be obtained prior to commencement of such demolition work. | Note
| Allow provisions to protect from dust and sound according to the regulation to the neighboring residence and without disturbing other offices in and around the premises. | Note
| Rate to include for disposal of debris away from site as directed . | Note
| All reusable materials should be to hand over to client with a check list , or allowed to taken by the Contractor with prior approval from The Client. | Note
| If any other demolition work noticed in contractors site visit it should be inform to architect and rate of that items should be included to BOQ demolition items | Note
2.1 | Disconnecting and sealing existing services such as electrical ,plumbing, drainage, telephone, data cables etc. and cover the air terminals carefully and as per the architects instruction.(Should give a list to the client and a rebate for removed all existing materials ) | Item | 1 |  | 0
2.2 | Removing existing Floor finish (carpet) without damaging to existing structure up to existing slab level and cart away debris and reusable materials should be hand over to relevant parties as per the architects instruction. | m2 |  |  | RATE ONLY
2.3 | Removing existing Floor finish with skirting (tile) without damaging to existing structure up to existing slab level and cart away debris and reusable materials should be hand over to relevant parties as per the architects instruction | m2 | 6.2 |  | 0
2.4 | Demolition of existing floor without damaging to existing structure existing floor to be drop down to 750mm to match with existing floor level and cart away debris and reusable materials should be hand over to relevant parties as per the architects instruction | Item | 1 |  | 0
2.5 | Removing existing ceiling with air louvers and frame work without damaging to existing service lines(AC,Smoke detectors etc.) and cart away debris ,reusable materials should be hand over to relevant parties as per the architects instruction. | m2 | 408 |  | 0
0
2.6 | Removing carefully existing Internal full height Gypsum partitions,Glass partition with doors ,windows and all fixing accessories and cart away debris , reusable materials should be hand over to relevant parties as per the architects instruction.. (The reusable doors should be removed carefully and keep in safe place to re use) | m2 | 183.927 |  | 0
0
2.7 | Removing carefully existing Glass partition with doors and windows with all fixing accessories and cart away debris , reusable materials should be hand over to relevant parties as per the architects instruction.. (The reusable doors should be removed carefully and keep in safe place to re use) | m2 | 150 |  | 0
2.8 | Demolishing Exiting wall without damaging Existing structure and cart away debris off site as per the architect instruction.- | m2 | 137.6765 |  | 0
0
2.9 | Prepare wall opening for doors , without damaging to existing structure and cart away debris and reusable materials off site. Reusable materials should be hand over to relevant parties as per the architects instruction. Rate shall include for prepare revals | Item | 1 |  | 0
0
2.1 | Removing Exiting sanitary fittings & showers with all accessories without damaging Existing structure and cart away debris off site and Reusable materials should be hand over to relevant parties as per the architects instruction..(male,female and pantry area wash room) | Item | 1 |  | 0
| WC – 7nos |  |  |  | 0
| Wash basin – 5Nos |  |  |  | 0
| and other accessories |  |  |  | 0
| TOTAL OF SECTION 02 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 03 – GROUND WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract and other relevant documents prior to pricing of this section of work. | Note
| Keeping all excavations free from storm or percolating water as required or directed to keep excavations dry etc. | Note
| Anti Termite Treatment should be done by Specialized contractor approved by the client / engineer. A minimum of 10 year joint warranted should be provided by the Main Contractor & Specialized Contractor. | Note
Planking and strutting and de-watering if required.
3.1 | Excavation in trenches column foundations,plinth beams in any soil except rock which requires blasting for removal, depth not exceeding 2'-0", part return back filled and surplus disposed away from premises. | m3 | 22.14 |  | 0
3.2 | Anti-termite treatment which shall cover excavated trenches,pits,earth filling,etc. (Approx. 135 m2) | Item | 1 |  | 0
3.3 | DPM for floor area using 1000gauge polythene | m2 | 0 |  | RATE ONLY
3.4 | DPC using 1:3 cement sand motor including applying two coats of hot bitumen | m |  |  | RATE ONLY
FILLING
IMPORTED EARTH FILLING
3.5 | Filling under floors with gravel or approved quality imported filling material. Spreading, watering and well ramming in 150mm Layers in Building areas. | m3 | 0 |  | RATE ONLY
| TOTAL OF SECTION 03 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 04 - CONCRETE WORK
Note:
| The Tenderer are requested to refer General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data / Contract data and all other relevant documents prior to pricing of the following items | Note
| Rate for concrete items to include for mixing, hoisting, placing in position, compacting with mechanical vibrator and for curing. | Note
| Rates for concrete shall include all necessary equipments which are required for concreting. | Note
| Rate shall include for providing necessary fixing arrangement to existing structure as per Architect's instructions. | Note
| Rate of concrete for floor slabs shall include for hand trowel finish to slab surfaces wherever specified to the satisfaction of the Consultant. | Note
Reinforced Concrete - Grade G 25
Up to DPC level
4.1 | Column Foundation -base & shaft | m3 | 8.736 |  | 0
4.2 | Filling existing Floor with concrete for floor area including A143 mesh | m3 | 4.125 |  | 0
4.3 | 175mm thk Bondek Slab including 1mm thk profile decking sheet and A393 mesh top and bottom | m3 | 22.7978 |  | 0
Reinforcement
Tor steel mild steel rods to be cut to sizes bent to shape and laid in position with 1:2 cement and sand spacer blocks. Rate to include for cut, waste and laps and 18 BWG GI binding wire Rate to include steel chairs Characteristic strength of reinforcement shall be;
Tor Steel fy = 460 N/mm2
Mild Steel = 250 N/mm2
Up to DPC level
4.4 | Column Foundation -base & shaft | kg | 729.612 |  | 0
Form work
Up to DPC level
4.5 | Column Foundation -base & shaft | m2 | 34 |  | 0
* | Lintol – Rate shall include for concrete work including necessary reinforcement and foam work.
4.6 | Lintols 6"x6" | m | 10 |  | 0
4.7 | Lintols 1'x6" | m |  |  | RATE ONLY
4.8 | Preparing 4'' thk vanity top with necessary form work and reinforcement as per the architects instruction and detail drawing.(3200x600) | Item | 2 |  | 0
0
4.9 | Preparing 4'' thk vanity top with necessary form work and reinforcement as per the architects instruction and detail drawing.(2100x600) | Item | 2 |  | 0
4.1 | Preparing new ramp with necessary form work and reinforcement as per the architects instruction and detail drawing. Rate shall include for floor compacting and retaining wall with brick ledge. | Item | 1 |  | 0
| TOTAL OF SECTION 04 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 05 - MASONRY WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data/ Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rates shall include for preparation of surfaces of floor slab, columns and wall surfaces for proper bonding and for bonding to existing wall as per architects instruction | Note
Rates shall include for:
a. R.C. stiffener beams/columns
b. Movement joints.
| c. Anchoring between R.C. structure and Steel Structures ends and tops at roof level as per detail. | Note
Up to DPC level
5.1 | Random rubble masonry in 1:5 cement mortar mix in Wall foundations | m3 |  |  | Rate Only
Note:
Rate shall include for stiffener columns and beams
5.2 | 112.5 mm thick brick wall in approved quality in cement sand 1:5 mix. | m2 | 271 |  | 0
5.3 | 225 mm thick block wall in approved quality in cement sand 1:5 mix. | m2 | 96 |  | 0
0
5.4 | 112.5 mm thick exposed brick wall in approved quality in cement sand 1:5 mix. Rate shall include for colorless laquer coat over the brick wall. | m2 |  |  | Rate Only
0
| TOTAL OF SECTION 05 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 06 – WATER PROOFING WORK
| The Tenderer are requested to refer Bills of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of Contract, Tendering data/ contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate shall include for leveling screeds, backings as recommended by manufacturer | Note
| Rate shall include for all internal and external angles, angle fillets, arises, edges, laps & intersections on work to cross falls. | Note
| Prepare and apply "conflour" or equivalent water proofing as directed. | Note
a | Water proofing work to Toilet area as per the detail drawings and Architects instructions.
6.1 | Floor | m2 | 64.5 |  | 0
6.2 | Wall
| upto 1ft | m2 | 15 |  | 0
| TOTAL OF SECTION 06 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 08 - STEEL WORK
COULMN
8.1 | Supply Fabricating and fixing steel coulmn (250x250x72kg/m)as per detail drawing and architect instruction | m | 28 |  | 0
BEAM
8.2 | Supply Fabricating and fixing steel beam (450x200x76kg/m)as per detail drawing and architect instruction | m | 102.795 |  | 0
8.3 | Supply Fabricating and fixing steel beam (500x200x79.5kg/m)as per detail drawing and architect instruction | m | 32 |  | 0
8.4 | Supply Fabricating and fixing steel beam (300x150x36kg/m)as per detail drawing and architect instruction | m | 32 |  | 0
| TOTAL OF SECTION 08 - CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 10 -FLOOR , WALL AND CEILING FINISHES
FLOOR FINISHES
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Before laying of All tiles color and quality of tiles, grout and adhesive should be approved by the Architect. | Note
| Rate shall include for prepare and leveling of bedding surface, cutting and fixing of tiles on tile bed. | Note
| Rate shall include for tile bed and approved quality grout ,adhesive etc. | Note
| Cement Floor Finish should be approved by the Architect. | Note
Reveal will not be measured separately
10.1 | Supply & Laying of carpet tiles on existing tile floor with side edging as per the architects instruction and detail drawings CARPET TILES 250mmx1000mm SMJ CODE nlp174712 khaki pants | m2 | 152 |  | 0
10.2 | Supply & Installation of 600 x 300 mm Matt homogeneous floor tiles including cement sand 1:3 mix bedding and jointing with approved tile grout to match colour of tiles with groves as per the architects instruction and detail drawings at corridor area ( Tile Code Rocell SOLID SAND SEMI GLOSSY RC.RCC.000111.SG.05) Prime cost -Rs.2163.00 per tile | m2 | 46 |  | 0
10.3 | Supply & Installation of 900 x 300 mm Matt homogeneous floor tiles including cement sand 1:3 mix bedding and jointing with approved tile grout to match colour of tiles with groves as per the architects instruction and detail drawings at Male wash room and disable toilet tile( Tile Code Lanka tiles FAN – VER 0806C prime cost 1667.50 ) | m2 | 39 |  | 0
10.4 | Supply & Installation of 900 x 300 mm Matt homogeneous floor tiles including cement sand 1:3 mix bedding and jointing with approved tile grout to match colour of tiles with groves as per the architects instruction and detail drawings at Male wash room tile Female wash room tile (FAN-VER-X0717C prime cost 1620.35 ) | m2 | 70 |  | 0
10.5 | 50mm height Skirting as per the architects instruction and detail drawings
* | Tile skirting | m | 20 |  | 0
* | Carpert Skirting with PVC board | m | 48 |  | 0
WALL FINISHES
Before laying of All tiles color and quality of tiles, grout and adhesive should be approved by the Architect.
Reveal will not be measured separately
WALL TILES
10.6 | Supplying and installation 900 x300 wall tile with all the necessary materials, rate shall include necessary bed. As per the architects instruction and detail drawings-Male wash room & disable toilet wall( Tile Code Lanka tiles FAN – VER 0806B prime cost 1667.50 ) | m2 | 70 |  | 0
10.7 | Supplying and installation 900 x300 wall tile with all the necessary materials, rate shall include necessary bed. As per the architects instruction and detail drawings-Female wash room wall( Tile Code Lanka tiles FAN-VER-X0717B prime cost 1620.35 ) | m2 | 147 |  | 0
10.8 | Supplying and installation 300 x 300 mm gloss homogeneous wall tiles including cement sand 1:3 mix bedding and jointing with approved tile grout to match colour of tiles with groves as per the architects instruction and detail drawings at male toilet. ( Tile Code Lanka tiles KAFDHPIN 0006A prime cost 526.70 ) | m2 | 23 |  | 0
10.9 | Supplying and installation 300 x 300 mm gloss homogeneous wall tiles including cement sand 1:3 mix bedding and jointing with approved tile grout to match colour of tiles with groves as per the architects instruction and detail drawings at female toilet . ( Tile Code Lanka tiles KAFDHPIN 0003A prime cost 526.70 ) | m2 | 27 |  | 0
PLASTERING
| Rates shall include for door and window reveals, plaster bands, tapered work, recesses, patterned work and the like. No additional payment shall be made. | Note
10.1 | 16mm thk. 1:5 mix cement and sand plaster to walls internally finished smoothly including forming reveals | m2 | 687 |  | 0
10.11 | 16mm thk. 1:5 mix cement and sand plaster to walls externally finished roughly including forming reveals | m2 | 10 |  | 0
10.12 | 16mm thk. 1:5 mix cement and sand plaster to soffit Internally and externally finished roughly including forming reveals | m2 |  |  | RATE ONLY
PAINTING
| Before Painting of wall paint color and quality ( Dulux or Equivalent ) approved by the Architect. | Note
| Rates shall include for preparation of surfaces, cleaning down, smoothing, knotting, stopping etc., | Note
| Rates shall include for protection of floors, fittings and cleaning upon completion. | Note
10.13 | Prepare and apply 2 coats of master pallet emulsion paint on Internal Walls. Rate shall include for apply two coats of wall putty and one coats of wall filler and two coats of master pallet emulsion paint in approved color internally as per manufacturer's instructions, specifications and approval by the Consultant. | m2 | 692 |  | 0
10.14 | Prepare surface and apply one coats of primer and two coats of weather shield emulsion paint to specified colour to walls externally | m2 | 25 |  | 0
10.15 | Prepare and apply 2 coats of master pallet emulsion paint on soffit internally . Rate shall include for apply two coats of wall putty and one coats of filler and two coats of master pallet emulsion paint in approved color internally as per manufacturer's instructions, specifications and approval by the Consultant. | m2 | 275 |  | 0
| TOTAL SECTION 10 CARRIED TO GRAND SUMMARY |  |  |  | 0
SECTION 11 – PLUMBING & DRAINAGE WORK
PLUMBING WORK
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate shall include for Screws, Nails, Pipe Hooks, Saddles, Brackets, Sockets, Connection, Lagging, Bolt Nuts, Nipple Joints, Concrete Blocks and making of all holes, chasing etc., and making good in other trades such as plaster and paint. | Note
| Unless otherwise specified all pipes shall be for PVC. | Note
| Rate shall include for painting of all expose elbows, bends, tees, stop ends, junctions, reducers, inspection opening & all other similar fittings where necessary & for testing | Note
| The diameter of piping shall be the normal internal bore of the pipe. | Note
11.1 | Allow the provisional sum for Plumbing work including cold water ,Hot water , soil and vent pipes and ancillaries ,builders work etc .for wash rooms and pantry | p.sum | 1 | 350000 | 350000
Sanitary Fittings
| Rate shall include Supply and fixing for All Plumbing and sanitary appliances with necessary pipes, fittings & connecting to waste outlets, water supply & commissioning and required fixing material. | Note
| Rate shall include necessary Bottle trap, Angle valve, Flexible Hose, Flexible connectors as per detail by consultant. | Note
| Warranty 10 years | Note
11.2 | Supply & Fixing of Urinals with sensor & necessary accessories as per the Consultant Approved. (Code-Rocell – Urbanity, Prime cost, Rs. 51,935.00) - | Nr | 4 |  | 0
11.3 | Supply & Fixing of Water closet with necessary accessories as per the Consultant Approved. Rate shall included for approved seat Cover. (Code – ROCELL AQUA + Prime cost- Rs.76,755.00, WC , Tank & Seat cover | Nr | 8 |  | 0
11.4 | Supply & Fixing of Water closet with necessary accessories for isable toilet as per the Consultant Approved. Rate shall included for approved seat Cover. (Code – ROCELL FLO Prime cost- Rs.109,280.00, WC , Tank & Seat cover +Folding Bar Prime cost 49,253.00) | Nr | 1 |  | 0
11.5 | Supply & Fixing of SCL 11 Biflex White Bidet Spray with necessary accessories as per the Consultant Approved. (Prime cost, Rs. 2,975.00) Code – Rocell AA01 | Nr | 9 |  | 0
11.6 | Supply & Fixing of Rocell Oval Shape Wash basin "ZEN Under Counter basin" with necessary accessories as per the Consultant Approved.. (Rocell RB. ZEN 01G108.01.08 Prime cost, WB - Rs. 17,255.00) -25 Years Warranty / | Nr | 10 |  | 0
11.7 | Supply & Fixing of Wash basin for diable toilet with necessary accessories as per the Consultant Approved.. (Rocell Dew Point Prime cost, WB - Rs. 41,325.00 + Strait bar – Rs.15,392.00 (2nr) ) -25 Years Warranty / | Nr | 1 |  | 0
11.8 | Supply & Fixing S/S Wall mounted Tissue paper Holder as per the Consultant Approved. (Prime cost, Rs. 6,630.00) Code - Rocell – A0219 | Nr | 9 |  | 0
11.9 | Supply & Fixing of “ Hot & Cold Mixter Tap” taps with necessary accessories as per the Consultant Approved. (Rocell – LOOP-Prime cost Rs.22,185.00) | Nr | 11 |  | 0
11.1 | Supply & Fixing of Bib tap as per the Consultant Approved. (Prime cost, Bib Tap- Rs.5,100.00) Code -ROCELL - 011850 | Nr | 8 |  | 0
11.11 | Supplying and fixing of soap holder as per the Consultant Approved. (Prime cost, Soap Holder- Rs.7,140.00) Code -ROCELL – A0222 | Nr |  |  | RATE ONLY
11.12 | Supplying and fixing Manual Operated Soap Dispenser wall mounted Dispenser as per the Consultant Approved. (Prime cost, Soap Dispenser – Rs.2,975.00), Supplier -Ceramic gallery | Nr | 7 |  | 0
11.13 | Supplying and fixing of S/S Hand drier as per the Consultant Approved. (Prime cost – Rs.14,450.00), Supplier -Ceramic gallery | Nr | 5 |  | 0
11.14 | Supplying and fixing of floor gully including Stainless Steel cover (Prime cost, Rs. 5,270.00) Code -Rocell – A-238 | Nr | 12 |  | 0
DRAINAGE WORK
| Tenderer are requested to refer Bill of Quantities, General Notes, Pricing Preambles, Drawings, Specifications, Conditions of contract, Tendering data, Contract data and other relevant documents prior to pricing of this section of work. | Note
| Rate for all piping include for pipe supports saddles, clips screws, nails, hardware, chasing of brick works, concrete works etc and making good the same in all trades and under ground piping all necessary excavation and backfilling, planking, shuttering concreting bedding and hatching etc. Dewatering and disposal of surplus material as directed. | Note
| Rate for all piping include for burying of ground or chasing wall or clipping to walls as required and for pipe fittings such as bends, tees, reducers and all specials. | Note
11.15 | Allow the provisional sum for all drainage related works including waste water disposal system , sewage system and drainage tank & Sokage pit ,as per architects instruction rate shall include for building work etc. | P.sum | 1 | 250000 | 250000
| TOTAL SECTION 11 CARRIED TO GRAND SUMMARY |  |  |  | 600000
GRAND SUMMARY
| SECTION 01 - PRELIMINARIES |  |  |  | 325000
| SECTION 02 - DEMOLITION WORK |  |  |  | 0
| SECTION 03 - GROUND WORK |  |  |  | 0
| SECTION 04 - CONCRETE WORK |  |  |  | 0
| SECTION 05 - MASONRY WORK |  |  |  | 0
| SECTION 06 – WATER PROOFING WORK |  |  |  | 0
| SECTION 10 -FLOOR , WALL AND CEILING FINISHES |  |  |  | 0
| SECTION 11 – PLUMBING & DRAINAGE WORK |  |  |  | 600000
| SUB TOTAL (01) |  |  |  | 925000
DISCOUNT IF ANY
| New Price SUB TOTAL(01a) |  |  |  | 925000
| ADD: 10% CONTINGENCIES |  |  |  | 92500
| SUB TOTAL (02) |  |  |  | 1017500
S VAT
| TOTAL CARRIED TO FORM OF BID |  |  |  | 1017500